1. Test and adjust alkalinity (100 – 150 ppm) first and then adjust pH (7.2 – 7.6) levels for vinyl liner pools.

2. Test Chlorine level weekly & if level below 1.5 ppm shock pool with granular chlorine.  Shock pool at night with              _Lbs Super Shock-It or Regal Calcium Hypochlorite OR _______ gallons liquid chlorine (wait 12 hrs before swimming).

Normal chlorine level should remain between 1.0 – 5.0

- If using regular chlorine granules, mix chlorine into a 5 gallon bucket of water (add chlorine to water not water to chlorine), or add chlorine directly into skimmer.     1 lbs per 10,000 gallons

- If using liquid chlorine, use ½ gallon per 10,000 gallons and pour over the pool surface.

3. Add _______ oz of algaecide, pour around pool surface

- Algae Control 30 use 6 oz per 10,000 gallons

- Algae Control 60 use 3 oz per 10,000 gallons

- Algae Back Up use 2 oz per 10,000 gallons

4. Add              _ sticks/pucks to the pool’s skimmer basket or fill the automatic chlorinator

- Use 1 stick/puck per 10,000 gallons every 3 ~ 5 days or as needed

- Never put chlorine granules into automatic chlorinator!!

5. Brush or vacuum your pool once a week

6. To maintain the best water clarity use ____ oz water clarifier (6 oz per 10,000 gallons)

HELPFUL HINTS

1. Run filter system a minimum of 12 hours during the daylight hours.  (24 hrs a day is best!)

2. Clean filter sand once a season using Sparkling Filter Cleaner & Degreaser and after each algae treatment

- Replace sand or Zeosand in filter every 5-6 seasons.

3. Have your water tested once a month by Rising Sun Pools to ensure proper balance of water and safe swimming.

4. Never mix chemicals!! Always use as directed by manufacturer.  Example: Granular chlorine mixed with chlorine tablets will explode!!

5. Read and follow all directions.  Ask any questions if you are unsure.